## Sheet1
Instrument | Instrument unabbreviated | Manufacturer? | Status | Used in published SIF studies? | In-situ profiler, in-situ above water , airborne | FOV (degrees) | Spectral range | Spectral sampling / bands | FWHM | SNR | Stray light | Spatial resolution
LI-800 |  | LI-COR | Discontinued | Yes: Maritorena et al. (2000) | underwater profile |  | 305 - 800 nm | 8
PNF 300 | Profiling Natural Fluorometer 300 | Biospherical Instruments | Ongoing? | Yes: Maritorena et al. (2000), Chamberlin (1990, 1992), Kiefer (1989), White (1991) | underwater profile | 26 | 665 - 740 nm
PRR 600 | Profiling Reflectance Radiometer 600 | Biospherical Instruments | Discontinued? | Yes: Morrison (2003) | underwater profile |  | 412 - 683 | multispectral- 412, 443, 490, 510, 555, 665, 683 | 10
TSRB | Tethered Spectral Radiometer Buoy | Satlantic |  | Yes: Huot (2007) | underwater profile | 3 |  | 3.3
USB 2000 Ocean Optics Spectrometer |  | Ocean Insight |  | Yes: Gilerson (2007) | underwater profile |  | 200 - 1100 |  | 0.3 - 10
RAMSES -- and ++ |  | Trios | Ongoing |  | underwater and above water | 7 | 320-1050 | 3.3 | 10
HyperOCR -- | Hyperspectral Ocean Colour Radiometer | Sea Bird Scientific | Ongoing |  | underwater | 8 | 350 - 800 | 3.3 | 10 |  | < 1 X 10^-3
HyperOCR ++ | Hyperspectral Ocean Colour Radiometer | Sea Bird Scientific | Ongoing |  | above water | 3 | 350 - 800 | 3.3 | 10 |  | < 1 X 10^-3
WISP-3 | Water Insight Spectrometer | Water Insight | Ongoing |  | above water | 3 | 350 - 800 | 0.4 | 4.9
SeaPRISM (Zibordi et al., 2009) | Sea Photometer Revision for Incident Surface Measurements | CIMEL Electronique | Upgraded |  | above water | 1.2 | 412 - 1020 | multispectral - 412, 443, 488, 531, 551, 667, 870, 1020 | 10
SeaPRISM for Ocean Colour | Sea Photometer Revision for Incident Surface Measurements | CIMEL Electronique | Ongoing |  | above water | 1.2 | 412 - 1020 | multispectral - 400, 412.5, 442.5, 490, 510, 560, 620, 665, 779, 865, 937, 1020 | 10
SeaPRISM for Lake Colour | Sea Photometer Revision for Incident Surface Measurements | CIMEL Electronique | Ongoing |  | above water | 1.2 | 412 - 1020 | multispectral - 412.5, 442.5, 490, 510, 560, 620, 665, 681, 709, 865, 937, 1020 | 10
SR-3500 | Spectroradiometer-3500 | Spectral Evolution | Ongoing |  | above water | 5 | 350 - 2500 | 10.2/3.8/2.4 | 3/8/6
ASD FieldSpec 4 Standard-Res spectro-photometer | Analytical Spectral Devices FieldSpec 4 Standard-Res spectro-photometer | ASD | Ongoing |  | above water | 8 | 350 - 2500 | 1.4 (350 - 1000 nm) / 1.1 (1001 - 2500 nm) | 3 nm (at 700 nm), 10 nm (at 1400 or 2100 nm)
FLOXBox High res optic | Fluorescence Box | JB Hyperspectral | Ongoing |  | above water | 25 | 650 - 800 | 0.17 | 0.3 | 1000
FLOXBox Low res optic | Fluorescence Box | JB Hyperspectral | Ongoing |  | above water | 25 | 400 - 950 | 0.65 | 1.5 | 1000
PRISM | Portable Remote Imaging Spectrometer | operated by NASA |  | Yes: Erickson (2019) | airborne | 30.7 | 350 - 1050 | 2.8 | 3.5 | 500 |  | 10 x 10 m
APEX (VNIR) | Airborne Prism Experiment | VITO and RSL UZH |  |  | airborne | 28 | 380.5 - 971.7 | 0.45 - 7.5 | 0.7 - 9.7
AVIRIS-NG | Airborne Visible/Omfrared Imaging Spectrometer | JPL NASA |  |  | airborne | 36 | 380 - 2510 |  | 5
Hyplant FLUO |  | Forschungzentrum Jülich and Specim Spectral Imaging Ltd |  | Yes: SIF vegetation | airborne | 32.3 | 670 - 780 | 0.11 | 0.25 | 240
Hyplant DUAL |  | Forschungzentrum Jülich and Specim Spectral Imaging Ltd |  | Yes: SIF vegetation | airborne | 32.3 | 370 - 2500 |  | 3-10 (VIS-NIR), 10 (SWIR) | 510
Note on H3: Gupana, Remika: 665 - 740 in Maritorena
Note on A11: Gupana, Remika: Aeronet-OC paper

## Sheet2
Mission | Sensor | Instrument Type | Status/Launch | Coverage | FOV | Spatial resolution | Overpass time | Repeat cycle | Spectral range | Spectral bands | FWHM | SNR | Source
Envisat-1 | MERIS | push-broom | 2002-2012 | Global | 68.5 | 300 m | 10:00 | every 3 days | 390-1040 | 15 bands | between 2.5-30 nm |  | https://ladsweb.modaps.eosdis.nasa.gov/missions-and-measurements/meris/
Aqua platform | MODIS |  | 2002 | Global |  | 250, 500,1000 | 10:30 | 1-2 days | 400-14400 | 36 bands |  |  | https://modis.gsfc.nasa.gov/about/specifications.php
Envisat | SCIAMACHY |  | 2002-2012 | Global |  |  |  |  | 240-2380 |  | 0.2-1.5
PACE | OCI |  | 2022 | Global | 0.08 | 1000 |  | 2 days | 350-890 + 940-2260 |  | 5 |  | https://pace.oceansciences.org/mission.htm
Sentinel-5P | TROPOMI | pushbroom | 2017-10-01 | Global |  | 5600 |  | 1 | 270-495 | 1200 | 0.55 | 1000 | https://www.wmo-sat.info/oscar/instruments/view/586
[9 empty] | 710-775 | 600 | 0.55 | 500
[9 empty] | 2305-2385 | 800 | 0.25 | 100
MetOp | GOME-2 |  | 2007 | Global |  | 80 x 40 km |  | 3 days HR, 1.5 LR | 240-315 |  | 0.24-0.29 | 7-177 | https://www.wmo-sat.info/oscar/instruments/view/167
[9 empty] | 311-403 |  | 0.26-0.28 | 372-3000
[9 empty] | 401-600 |  | 0.44-0.53 | 4000
[9 empty] | 590-790 |  | 0.44-0.53 | 2000-4000
Sentinel3 | OLCI
SLSTR
FLEX | FLORIS LR
FLORIS HR
Note on I2: Gupana, Remika: repeat cycle: 35 days
Note on I3: Gupana, Remika: 16 days
Note on M9: Gupana, Remika: @ 50 % albedo and 60° Solar Zenith Angle